- WATER POLLUTION ASSESSMENT MINIMUM REQUIREMENTS

This form sets out data which SEPA expects to be included in reports submitted when providing advice on water pollution associated with land contamination within the context of suitability for current (Part IIA) or future (land use planning) use.

The purpose of this form is to ensure that there is sufficient data to enable advice to be provided by SEPA Specialist staff; if the minimum requirements are not met and/or appropriate methods not adopted, then it will not be possible for SEPA to provide advice. The checklist refers only to basic site data - the type of information normally required at the outset of the consultative process. SEPA recognises however that it is the regulatory regime, stage or iteration of risk assessment that will determine report content as consultation progresses. The checklist does not seek to replace the wealth of comprehensive guidance already available in relation to site investigation and risk assessment of land contamination. Once data provided has been considered by SEPA staff, it may become apparent that additional information is required, in which case further information will be sought.

Methods to be used by local authorities, land owners and their consultants are highlighted on the SEPA and other web sites such as www.claire.co.uk/information-centre/water-and-land-library-wall and www.gov.uk/government/collections/land-contamination-technical-guidance. Guidance on assessing water pollution arising from land containing chemical contaminants is available on the SEPA website.

Investigation design, logging and sampling techniques should be carried out in accordance with current codes of practice, such as BS 10175:2001 Investigation of potentially contaminated sites - Code of practice.

| Site Details |  |
| --- | --- |
| Site Name |  |
| NGR of centre of site |  |
| Developer/owner |  |
| Local Authority |  |

| Required Data | Section/page reference |
| --- | --- |
| Previous Work |  |
| - Reference to previous reports. |  |
| Sources of contamination |  |
| - Detailed site plans/drawings/maps showing the location and depth of any sources of any contamination including, the location of any historical spills, leaks, discharges, working/storage areas and tanks and pipes. Details of the type of contamination should be marked against each area. |  |
| Site investigation - Accurate site investigation plans with locations of exploratory holes from current and historical investigations including methods used for forming exploratory holes e.g. boreholes, trial pits, window samples. These should be clearly labelled on a map/plan. Trial pit/boreholes logs to be provided, with elevation surveyed referenced to ordnance datum (mAOD). |  |
| Receptors |  |
| - Location of potential receptors. This should include groundwater, surface waters, wetlands (including if they are groundwater fed) and abstractions (including the location of authorised abstractions (via SEPA) and private water supplies (via Local Authorities). |  |
| Hydrogeology |  |
| - Borehole logs, including construction details such as casing depth, screened/open intervals, method of sealing borehole annulus, position of water strikes or seepage, and details of the strata thickness and nature of geological units. Details of any cores/sample taken for testing. Borehole elevation should be surveyed with reference to ordnance datum (mAOD). |  |
| - Groundwater levels for individual boreholes in metres below ground level (mbgl) AND metres above ordnance datum (mAOD) with reference location, response zone and date/time. |  |
| - Water levels for surface water features included in the site conceptual model (in metres above ordnance datum (mAOD)). |  |
| - Results of any in situ or laboratory testing such as hydraulic conductivity testing. This should include the method statements, raw data and interpreted results. The date, location and depth of any testing or sampling should be provided. |  |
| - Identification of preferential flow pathways; natural geological conditions and man-made structures such as drainage, utility ducts and mine-workings. |  |
| Soil and Groundwater Quality Monitoring |  |
| - Environmental quality monitoring (soil, ground gas and vapour, leachability tests & water environment); sampling details including sample reference information, date, depth & strata and results. Sufficiently low limits of detection must be employed within the laboratory analyses to enable comparison of data against appropriate assessment criteria. All relevant original data should be included e.g. sample records and laboratory certificates. |  |
| - Field observations (thickness, visual and olfactory) of non aqueous phase liquids (NAPL) (including location e.g. BH1 and date). |  |