## Results table
ES-CHEM-GEN-S-06 | Sample stability spreadsheet
Version 2
Table 1 | Investigation details | [11 empty] | Table 2.
Method Number | ES-TORG-P-207/216 |  |  |  | No. Days Elapsed since Day Zero*
Analyst | Redacted | Date (Day Zero) |  | 2017-01-25 | 0 | [7 empty] | Method | Accepted
Sample / Extract | Sample | Test 1 Date |  | 2017-02-23 | 30 | [7 empty] | RSD (%) | Bias (%) | number of samples
Matrix | Marine Sediment | Test 2 Date |  | 2017-03-28 | 63 | [7 empty] | 25 | 50 | 4 | 3
Other Matrices Represented by Above Matrix | far-field; near-field | Test 3 Date |  | 2017-04-25 | 91 | [9 empty] | formula 1 | formula 3
|  | Test 4 Date |  | 2017-05-26 | 122
Target Stability Period (Days) | 180 | Test 5 Date |  | 2017-11-07 | 287
Number of Investigation Sets** | 6 | Test 6 Date | [9 empty] | From p114 of NS30 using formula a(1) n=13/D² the above calculates the number of replicate determinations required based on the RSD and BIAS targets for a test (worst case scenario) assuming that the between batch variability is small compared to the instability of interest.
Spiking used (Y/N) | Y
Spiking level | PCS | [10 empty] | From p114 of NS30 using formula a(3) n=SQRT((26*RSD²)/BIAS²) the above calculates the number of replicate determinations required based on the RSD and BIAS targets for a test. This second formula assumes that the blank corrected measurements between the two batches being compared are negligible and can sometimes under estimate the number of replicates required to be correctly judge if the observed change is due to stability or poor precision achieved by the test.
Spike Reporing Units | ug/L
** includes day zero
*For samples the 'Days elapsed' is the number of days the sample has been held in storage prior to extraction. | [11 empty] | Enter desired RSD and degradation targets into the green fields and the number of replicates for stability testing will be shown.
*For extracts the 'Days elapsed' is the number of days after extraction.
[16 empty] | Number of data sets | 6
[16 empty] | Σ Test days | 593
[16 empty] | (Σ)2 Test days | 351649
Table 3 | [15 empty] | Σ (Test days)2 | 110403
Component Name |  | Day 0 | Period 1 |  | Period 2 |  | Period 3 |  | Period 4 |  | Period 5 |  | Period 6 |  | Comments | Σ Average results | (Σ)2 Average results | Σ days x results | Gradient | Intercept | MHT | Component Name
| Spiking level | 0 | 30 | Bias % | 63 | Bias % | 91 | Bias % | 122 | Bias % | 287 | Bias % | 0 | Bias % | [6 empty] | (Days)
Teflubenzuron | 80 | 86.6429 | 87.3429 | 0.80791 | 104.2143 | 20.2803 | 89.8 | 3.6439 | 118.7143 | 37.0157 | 0 | -100 | 0 | -100 |  | 486.7143 | 236890.7959 | 31840.7286 | -0.31399 | 112.1514 | 178.5928 | Teflubenzuron
Diflubenzuron | 160 | 164.4286 | 146 | -11.2076 | 174 | 5.821 | 152.8571 | -7.0374 | 189.8571 | 15.4648 | 0 | -100 | 0 | -100 |  | 827.1429 | 684165.3061 | 52414.5714 | -0.56636 | 193.8328 | 171.1204 | Diflubenzuron
Emamectin Benzoate | 40 | 15.8571 | 8.1757 | -48.4414 | 15.8286 | -0.18018 | 17.7943 | 12.2162 | 22.2143 | 40.0901 | 23.3 | 46.9369 | 0 | -100 |  | 103.17 | 10644.0489 | 12258.9943 | 0.039818 | 13.2597 | -166.504 | Emamectin Benzoate
Ivermectin |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | Ivermectin
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
0 |  | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
Points of Note | 1. This stability for emamectine benzoate only incorporates both far-field and near-field sediments: Previous sample stability had been assessed seperately for far-field and near field sediments. Stability to 120 days demonstrated equivalent stability for both sub-matrices. ES-TORG-P-216 method validation demonstrated both sub-matrices to perform similarly. Therefore there is full justification to assess sample stability for both sub-matrices using a single sub-matrix.
Table 4
Final Stability Assessment
[14 empty] | Method | ES-TORG-P-207/216
2. This stability is a continuation of a previously started stability exercise using ES-TORG-P-207: Period 5 stability of this exercise was carried out using ES-TORG-P-216. Original spiked sediment sample was used and diluted appropriately to be within range of the ES-TORG-P-216 method - dilutions were accounted for in final concentrations used in this stability exercise. There is an accepted risk that the required dilutions may result in increased variability and therefore artificially low stability assessments. However, this exercise has returned an acceptable stability period and so the effect of dilutions are taken to be within control. Sample stability is not dependent upon the instrumentation or sample preparation technique in use and therefore it is acceptable to have used an alternaltive methodology during this exercise for period 5 particularly when ES-TORG-P-207 is know to currently not be performing for emamectin benzoate.
[14 empty] | Sample / Extract | Sample
[14 empty] | Matrix | Marine Sediment
[14 empty] | Matrices Covered | far-field; near-field
[14 empty] | Most Unstable Component | emamectin benzoate
| 3. Actual stability is expected to extend well beyond period 5 of 287 days: The period 5 bias of 46.94% is considered to be an over-estimate of true bias. Results used for stability assessment are raw non-recovery-corrected results. Therefore, any change to recovery factor from P-207 to P-216 will be highlighted in a change in reported bias within the stability exercise. Previous ES-TORG-P-207 recoveries were observed to be viariable with frequent lower recovery values. ES-TORG-P-216 has been demonstrated to return a consistently higher recovery. Final analysis day (287 days) gave a recovery-corrected residual concentration of 87.7% of the original spike. This demonstrates that any losses remain well within bias target for the bias and so are not considered significant. | [12 empty] | Maximum MHT (Days) | 287
[14 empty] | Signed: | Redacted |  | (Emamectin B.) |  |  |  | Date: | 2017-11-08
4. Derived MHT (Column V) is not a true MHT: The lower than expected recovery at day zero has had a detrimental effect on the indicative value (column V). This value is used for prediction on extension of testing periods only and does not influence the true stability value.

## Day 0
Day 0
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Teflubenzuron | 91.7 | 84.2 | 83.2 | 86 | 88.5 | 86.4 | 86.5 | 86.6429
Diflubenzuron | 161 | 171 | 162 | 171 | 159 | 156 | 171 | 164.4286
Emamectin Benzoate | 15.5 | 16.7 | 16.2 | 15.4 | 13.6 | 17.1 | 16.5 | 15.8571
Ivermectin | 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0
| 0 | [6 empty] | 0

## Period 1
Period 1
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Teflubenzuron | 77.1 | 77 | 95 | 81 | 90 | 90.3 | 101 | 87.3429
Diflubenzuron | 136 | 148 | 155 | 140 | 145 | 149 | 149 | 146
Emamectin Benzoate | 6.87 | 7.66 | 9.02 | 5.54 | 11.7 | 6.64 | 9.8 | 8.1757
Ivermectin | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 2
Period 2
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Teflubenzuron | 110 | 112 | 113 | 116 | 99 | 90 | 89.5 | 104.2143
Diflubenzuron | 172 | 167 | 174 | 182 | 177 | 182 | 164 | 174
Emamectin Benzoate | 13.5 | 17.1 | 16.5 | 12 | 16 | 17.8 | 17.9 | 15.8286
Ivermectin | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 3
Period 3
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Teflubenzuron | 79.9 | 103 | 99 | 92.8 | 83.5 | 84 | 86.4 | 89.8
Diflubenzuron | 142 | 166 | 166 | 164 | 147 | 141 | 144 | 152.8571
Emamectin Benzoate | 9.66 | 19.1 | 20.9 | 19.7 | 18.8 | 15.2 | 21.2 | 17.7943
Ivermectin | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 4
Period 4
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Teflubenzuron | 104 | 113 | 128 | 115 | 118 | 138 | 115 | 118.7143
Diflubenzuron | 171 | 200 | 228 | 187 | 171 | 193 | 179 | 189.8571
Emamectin Benzoate | 21.9 | 22.2 | 24.6 | 21.5 | 22.5 | 21.2 | 21.6 | 22.2143
Ivermectin | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 5
Period 5
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Teflubenzuron | 0 | [6 empty] | 0
Diflubenzuron | 0 | [6 empty] | 0
Emamectin Benzoate | 21.9 | 25.1 | 21.5 | 28.5 | 20.1 | 22.2 | 23.8 | 23.3
Ivermectin | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0

## Period 6
Period 6
Replicate
Determinand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | Average
Teflubenzuron | 0 | [6 empty] | 0
Diflubenzuron | 0 | [6 empty] | 0
Emamectin Benzoate | 0 | [6 empty] | 0
Ivermectin | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0
0 | 0 | [6 empty] | 0